

Consumer Confidence Report for Calendar Year 2023

Este informe contiene informactión muy importante sobre el aqua usted bebe.   
Tradúscalo ó hable con alguien que lo entienda bien.

|  |  |  |  |
| --- | --- | --- | --- |
| **Public Water System ID Number** | **Public Water System Name** | | |
| AZ04-01013 | TOWN OF SPRINGERVILLE | | |
| **Contact Name and Title** | | **Phone Number** | **E-mail Address** |
| WES WHITING | | 928-245-5914 | iconsolutions23@gmail.com |
| We want our valued customers to be informed about their water quality. If you would like to learn more about public participation or to attend any of our regularly scheduled meetings, please contact KELSI MILLER at 928-333-2656 for additional opportunity and meeting dates and times. | | | |

**Drinking Water Sources**

|  |  |
| --- | --- |
| The sources of drinking water (both tap and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals, and in some cases, radioactive material, and can pickup substances resulting from the presence of animals or from human activity.  In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water which must provide the same protection for public health. | |
| **Our water source(s):** | *GROUNDWATER: WHITE MOUNTAIN AQUIFER* |

**Drinking Water Contaminants**

|  |  |
| --- | --- |
| **Microbial Contaminants**:Such as viruses and bacteria that may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife  **Inorganic Contaminants**:Such as salts and metals that can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming  **Pesticides and Herbicides**:Such as agriculture, urban storm water runoff, and residential uses that may come from a variety of sources | **Organic Chemical Contaminants**: Such as synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and also may come from gas stations, urban storm water runoff, and septic systems.  **Radioactive Contaminants**: That can be naturally occurring or be the result of oil and gas production and mining activities. |

**Vulnerable Population**

|  |
| --- |
| Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV-AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers.  For more information about contaminants and potential health effects, or to receive a copy of the U.S. Environmental Protection Agency (EPA) and the U.S. Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by *Cryptosporidium* and microbiological contaminants call the EPA *Safe Drinking Water Hotline* at 1-800-426-4791. |

**Source Water Assessment**

|  |
| --- |
| * : This PWS did not receive a SWAP because the PWS was either inactive at the time or the PWS did not exist.   Further source water assessment documentation can be obtained by contacting ADEQ. |

**Definitions**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Treatment Technique (TT)**: A required process intended to reduce the level of a contaminant in drinking water  **Level 1 Assessment**: A study of the water system to identify potential problems and determine (if possible) why total coliform bacteria was present  **Level 2 Assessment**: A very detailed study of the water system to identify potential problems and determine (if possible) why an *E. coli* MCL violation has occurred and/or why total coliform bacteria was present  **Action Level (AL)**: The concentration of a contaminant which, if exceeded, triggers treatment, or other requirements  **Maximum Contaminant Level (MCL)**: The highest level of a contaminant that is allowed in drinking water  **Maximum Contaminant Level Goal MCLG)**: The level of a contaminant in drinking water below which there is no known or expected risk to health  **Maximum Residual Disinfectant Level (MRDL)**: The level of disinfectant added for water treatment that may not be exceeded at the consumer’s tap  **Maximum Residual Disinfectant Level Goal (MRDLG)**: The level of disinfectant added for treatment at which no known or anticipated adverse effect on health of persons would occur | **Minimum Reporting Limit (MRL)**: The smallest measured concentration of a substance that can be reliably measured by a given analytical method  **Millirems per year (MREM)**: A measure of radiation absorbed by the body  **Not Applicable (NA)**: Sampling was not completed by regulation or was not required  **Not Detected (ND or <):** Not detectable at reporting limit  **Nephelometric Turbidity Units (NTU)**: A measure of water clarity  **Million fibers per liter (MFL)**  **Picocuries per liter (pCi/L)**: Measure of the radioactivity in water  **ppm**: Parts per million or Milligrams per liter (mg/L)  **ppb**: Parts per billion or Micrograms per liter (µg/L)  **ppt**: Parts per trillion or Nanograms per liter (ng/L)  **ppq**: Parts per quadrillion or Picograms per liter (pg/L)   |  | | --- | | ppm x 1000 = ppb | | ppb x 1000 = ppt | | ppt x 1000 = ppq | |

**Lead Informational Statement:**

|  |
| --- |
| Lead, in drinking water, is primarily from materials and components associated with service lines and home plumbing. If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. **TOWN OF SPRINGERVILLE** is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at [www.epa.gov/safewater/lead](http://www.epa.gov/safewater/lead). |

**Water Quality Data – Regulated Contaminants**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Microbiological (RTCR)** | **TT**  **Violation**  **Y or N** | **Number of Positive Samples** | **Positive**  **Sample(s) Month & Year** | **MCL** | **MCLG** | **Likely Source of Contamination** | |
| **E. Coli** | N | 0 | 2023 | 0 | 0 | Human and animal fecal waste | |
| **Fecal Indicator** (  (coliphage, enterococci and/or E. coli) | N | 2 | 8/2023 | 0 | 0 | Human and animal fecal waste | |
| **Lead & Copper** | **MCL**  **Violation**  **Y or N** | **90th Percentile** | **Number of Samples Exceeds AL** | **AL** | **ALG** | **Sample Month & Year** | **Likely Source of Contamination** |
| **Copper (ppm)** | N | 0.04 | 0 | 1.3 | 1.3 | 2023 | Corrosion of household plumbing systems; erosion of natural deposits |
| **Lead (ppb)** | N | 0.87 | 2 | 15 | 0 | 2023 | Corrosion of household plumbing systems; erosion of natural deposits |
| **Radionuclides** | **MCL Violation**  **Y or N** | **Running Annual Average (RAA) OR Highest Level Detected** | **Range of All Samples**  **(Low-High)** | **MCL** | **MCLG** | **Sample Month & Year** | **Likely Source of Contamination** |
| **Beta/Photon Emitters (mrem/yr.)** |  |  |  | 4 | 0 |  | Decay of natural and man-made deposits |
| **Alpha Emitters (pCi/L)** | N | 17.6 | 2.9 – 17.6 | 15 | 0 | 2023 | Erosion of natural deposits |
| **Combined Radium-226 & -228 (pCi/L)** | N | 4 | 2.1 – 5.1 | 5 | 0 | 2023 | Erosion of natural deposits |
| **Uranium (ug/L)** | N | 8.195 | 2.0 – 8.195 | 30 | 0 | 2023 | Erosion of natural deposits |
| **Inorganic Chemicals  (IOC)** | **MCL**  **Violation**  **Y or N** | **Running Annual Average (RAA) OR Highest Level Detected** | **Range of All Samples**  **(Low-High)** | **MCL** | **MCLG** | **Sample Month & Year** | **Likely Source of Contamination** |
| **Arsenic1 (ppb)** | N | 4.3 | 1.5 – 4.3 | 10 | 0 | 2019 | Erosion of natural deposits, runoff from orchards, runoff from glass and electronics production wastes |
| **Barium (ppm)** | N | 0.36 | 0.18 – 0.36 | 2 | 2 | 2019 | Discharge of drilling wastes; discharge from metal refineries; Erosion of natural deposits |
| **Fluoride (ppm)** | N | 0.63 | 0.45 – 0.63 | 4 | 4 | 2019 | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |
| **Nitrate2 (ppm)** | N | 3 | <0.050 – 2.5 | 10 | 10 | 2023 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |
| **1 Arsenic** is a mineral known to cause cancer in humans at high concentration and is linked to other health effects, such as skin damage and circulatory problems. If arsenic is less than or equal to the MCL, your drinking water meets EPA’s standards. EPA’s standard balances the current understanding of arsenic’s possible health effects against the costs of removing arsenic from drinking water, and continues to research the health effects of low levels of arsenic.  **2 Nitrate** in drinking water at levels above 10 ppm is a health risk for infants of less than six months of age. High nitrate levels in drinking water can cause “blue baby syndrome.” Nitrate levels may rise quickly for short periods of time because of rainfall or agricultural activity. If you are caring for an infant, and detected nitrate levels are above 5 ppm, you should ask advice from your health care provider. | | | | | | | |

**Water Quality Table – Unregulated Contaminants**

Your drinking water was sampled for the presence and concentration of 29 different per- and polyfluoroalkyl substances, some known by the acronyms PFAS, PFOA, PFNA, PFHxS, PFBS, and GenX, a group of contaminants in the final stages of becoming regulated by the EPA. PFAS are man-made chemicals that are resistant to heat, water, and oil. They have been used since the 1940s to manufacture various consumer products, including fire-fighting foam and stain resistant, water-resistant, and nonstick items. Many PFAS do not break down easily and can build up in people, animals, and the environment over time. Scientific studies have shown that exposure to certain PFAS can be harmful to people and animals, depending on the level and duration of [exposure](https://www.youtube.com/watch?v=t44kSh0uKXE).

**To learn more about this group of chemicals, we encourage you to read the ADEQ-provided “PFAS 101 Fact Sheet” and to visit the ADEQ website at** [**https://www.azdeq.gov/pfas-resources**](https://www.azdeq.gov/pfas-resources)

|  |  |  |  |
| --- | --- | --- | --- |
| **Per- and Polyfluoroalkyl Substances** | **Highest Level Detected** | **Range of All Samples** | **Proposed MCL** |
| **PFOA (in parts per trillion)** | <3.73 |  | 4.0 ppt |
| **PFOS (in parts per trillion)** | <3.73 |  | 4.0 ppt |
| **PFNA (in parts per trillion)** | <3.73 |  | N/A\* |
| **PFHxS (in parts per trillion)** | <2.80 |  | N/A\* |
| **PFBS (in parts per trillion)** | <2.80 |  | N/A\* |
| **GenX (in parts per trillion)** | <4.66 |  | N/A\* |
| **Calculated Hazard Index (HI)** |  |  | 1 (no units) |

**\*** EPA is proposing a Hazard Index MCL to limit any mixture containing one or more of PFNA, PFHxS, PFBS, and/or GenX Chemicals. The Hazard Index considers the different toxicities of PFNA, GenX Chemicals, PFHxS, and PFBS. For these PFAS, water systems would use a hazard index calculation to determine if the combined levels of these PFAS in the drinking water at that system pose a potential risk and require action (Source: EPA Fact Sheet: Understanding the PFAS National Primary Drinking Water Proposal Hazard Index).

**Water Quality Table - Unregulated Contaminant Monitoring Rule (Required Reporting)**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Twenty-nine Per- and Polyfluoroalkyl Substances**  **(In parts per trillion)** | **Detected**  **(Y/N)** | **Average of Results**  **(ppt)** | **Range of All Samples**  **(Low-High)** | **Minimum Reporting Level**  **(ppt)** | **Analytical Methods** |
| 11-chloroeicosafluoro-3-oxaundecane-1-sulfonic acid (11Cl-PF3OUdS) | N | <5 | <5 - <5 | 5 | EPA 533 |
| 1H, 1H, 2H, 2H-perfluorodecane sulfonic acid (8:2 FTS) | N | <5 | <5 - <5 | 5 | EPA 533 |
| 1H, 1H, 2H, 2H-perfluorohexane sulfonic acid (4:2 FTS) | N | <3 | <3-<3 | 3 | EPA 533 |
| 1H, 1H, 2H, 2H-perfluorooctane sulfonic acid (6:2 FTS) | N | <5 | <5 - <5 | 5 | EPA 533 |
| 4,8-dioxa-3H-perfluorononanoic acid (ADONA) | N | <3 | <3-<3 | 3 | EPA 533 |
| 9-chlorohexadecafluoro-3-oxanone-1-sulfonic acid (9Cl-PF3ONS) | N | <2 | <2-<2 | 2 | EPA 533 |
| hexafluoropropylene oxide dimer acid (HFPO-DA) (GenX) | N | <5 | <5 - <5 | 5 | EPA 533 |
| nonafluoro-3,6-dioxaheptanoic acid (NFDHA) | N | <20 | <20-<20 | 20 | EPA 533 |
| Perfluoro-3-methoxypropanoic acid (PFMPA) | N | <3 | <3-<3 | 3 | EPA 533 |
| Perfluoro-4-methoxybutanoic acid (PFMBA) | N | <4 | <4-<4 | 4 | EPA 533 |
| Perfluorobutanesulfonic acid (PFBS) | N | <3 | <3-<3 | 3 | EPA 533 |
| Perfluorobutanoic acid (PFBA) | N | <5 | <5 - <5 | 5 | EPA 533 |
| Perfluorodecanoic acid (PFDA) | N | <3 | <3-<3 | 3 | EPA 533 |
| Perfluorododecanoic acid (PFDoA) | N | <3 | <3-<3 | 3 | EPA 533 |
| Perfluoroheptanesulfonic acid (PFHpS) | N | <3 | <3-<3 | 3 | EPA 533 |
| Perfluoroheptanoic acid (PFHpA) | N | <3 | <3-<3 | 3 | EPA 533 |
| Perfluorohexanesulfonic acid (PFHxS) | N | <3 | <3-<3 | 3 | EPA 533 |
| Perfluorohexanoic acid (PFHxA) | N | <3 | <3-<3 | 3 | EPA 533 |
| Perfluorononanoic acid (PFNA) | N | <4 | <4-<4 | 4 | EPA 533 |
| Perfluorooctanesulfonic acid (PFOS) | N | <4 | <4-<4 | 4 | EPA 533 |
| Perfluorooctanoic acid (PFOA) | N | <4 | <4-<4 | 4 | EPA 533 |
| Perfluoropentanesulfonic acid (PFPeS) | N | <4 | <4-<4 | 4 | EPA 533 |
| Perfluoropentanoic acid (PFPeA) | N | <3 | <3-<3 | 3 | EPA 533 |
| Perfluoroundecanoic acid (PFUnA) | N | <3 | <2-<2 | 2 | EPA 533 |
| n-ethyl perfluorooctanesulfonamidoacetic acid (NEtFOSAA) | N | <5 | <5 - <5 | 5 | EPA 537.1 |
| n-methyl perfluorooctanesulfonamidoacetic acid (NMeFOSAA) | N | <6 | <6-<6 | 6 | EPA 537.1 |
| Perfluorotetradecanoic acid (PFTA) | N | <8 | <8-<8 | 8 | EPA 537.1 |
| Perfluorotridecanoic acid (PFTrDA) | N | <7 | <7-<7 | 7 | EPA 537.1 |

**Violation Summary (for MCL, MRDL, AL, TT, or Monitoring & Reporting Requirement)**

|  |  |  |  |
| --- | --- | --- | --- |
| **Violation Type** | **Explanation, Health Effects** | **Time Period** | **Corrective Actions** |
| Late Reporting | Combined Radium was reported after the compliance period | 1,3,4 quarter of 2023 | Results were submitted |
| Missed sampling | Water quality data sample was missed | 1st half of 2023 | 2nd half of 2023 sampled and public notice issued |
| Missed sampling | Not all sources were sampled following a coliform positive sample | 5/2023 | Level 2 assessment and public notice were completed. Monitoring resumed the following month |
|  |  |  |  |
|  |  |  |  |
| Please share this information with other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail. | | | |

**Assessments for the Revised Total Coliform Rule (RTCR)**

|  |
| --- |
| **Coliforms** are bacteria that are naturally present in the environment and are used as an indicator that other, potentially harmful, waterborne pathogens may be present or that a potential pathway exists through which contamination may enter the drinking water distribution system. If coliform is found, then the system is responsible to look for potential problems in water treatment or distribution. When this occurs, the water system is required to conduct assessment(s) to identify problems and to correct any problems that were found during these assessments.   * During the past year, we were required to conduct **1** Level 1 assessment(s). **1** Level 1 assessment(s) were completed. In addition, we were required to take **0** corrective actions and we completed **0** of these actions. * During the past year, we were required to conduct **1** Level 2 assessment(s). **1** Level 2 assessment(s) were completed. In addition, we were required to take **5**corrective actions and we completed **5** of these actions. |